## Sheet1
S.No | ONGRID Inverter | Part Number | Product Description | Act Wt (kg) | Vol wt(kg) | Cal wt(kg) | Warranty(yrs)
1 | SE3000H | SE3000H-IN000BNN4 | Single Phase inverter, 3.0kW, HD-Wave, Inverters with SetApp configuration | 10 | 9.11 | 10 | 12
2 | SE4000H | SE4000H-IN000BNN4 | Single Phase inverter, 4.0kW, HD-Wave, Inverters with SetApp configuration | 13 | 9.11 | 13 | 12
3 | SE5K | SE5K-IN0TEBNN4 | Three Phase Inverter, 5.0kW, Inverters with SetApp configuration | 20.34 | 20 | 20 | 12
4 | SE8K | SE8K-IN0TEBNN4 | Three Phase Inverter, 8.0kW, Inverters with SetApp configuration | 21.88 | 20 | 22 | 12
5 | SE10K | SE10K-IN00RBNN4 | Three Phase Inverter, 10.0kW, Inverters with SetApp configuration | 21.88 | 20 | 22 | 12
6 | SE17K | SE17K-IN0T0BNN4 | Three Phase Inverter, 17.0kW, Inverters with SetApp configuration | 24.5 | 37 | 37 | 5
7 | SE33.3K | SE33.3K-IN001BNN4 | Three Phase Inverter, 33.3kW, Inverters with SetApp configuration, includes RS485 SPD plug-in |  |  |  | 12
8 | SE55K | SE55K-IN0P0BNU4 | Three Phase Inverter with synergy technology, 55kW, DC Switch and MC4 | 46.18 | 50 | 50 | 12
9 | SE66.6K | SE66.6K-IN00IBNM4 | Three Phase Inverter with Synergy Technology, Manager, 66.6kW, MC4 connectors, DC SPD |  |  |  | 12
10 | SE82.8K | SE82.8K-IN0P0BNU4 | Three Phase Inverter with synergy technology, 82.8kW, DC Switch and MC4 | 46.18 | 53 | 53 | 12
11 | SE100K | SE100K-IN00IBNM4 | Three Phase Inverter with Synergy Technology, Manager, 100kW, MC4 connectors, DC SPD |  |  |  | 12
12 | SESU | SESU-RW0S0NNN4 | Three Phase Inverter with Synergy Technology, Unit | 24.5 | 44 | 44 | 12
13 | SE55K RSD | SE55K-INRP0BNU4 | Three Phase Inverter with synergy technology, 55 kW, DC Switch and MC4 with Automatic Rapid Shutdown upon AC grid disconnect | 46.18 | 50 | 50 | 12
14 | SE82.8K RSD | SE82.8K-INRP0BNU4 | Three Phase Inverter with synergy technology, 82.8kW, DC Switch and MC4 with Automatic Rapid Shutdown upon AC grid disconnect | 46.18 | 53 | 53 | 12
15 | SESU RSD | SESU-RWRS0NNN4 | Three Phase Inverter with Synergy Technology, Unit, with Automatic Rapid Shutdown upon AC grid disconnect | 24.5 | 44 | 44 | 12
| HYBRID System | Part Number | Product Description | Act Wt (kg) | Vol wt(kg) | Cal wt(kg)
16 | SE5000-XXS | SE5000-INS20NNB2 | StorEdge single phase inverter, 5kW, inverters with a display |  |  |  | 12
17 | SE6000-XXS | SE6000- INS20NNB2 | StorEdge single phase inverter, 6kW, inverters with a display |  |  |  | 12
18 | Battery | RESU10H type-R | LG Chem Li-ion 9.8 kWh |  |  |  | 10
| Optimizer | Part Number | Product Description | Act Wt (kg) | Vol wt(kg) | Cal wt(kg)
19 | P401 | P401-5RM4MRM | For 60/72 cell high power modules, 60V, output cable length 1.2m (sold in box of 20, 840/pallet) | 17 | 10.03 | 17 | 25
20 | P404 | P404-4RM4MRM | For 60/72 cells, 80V, output cable length 1.2m (sold in box of 20, 840/pallet) | 18 | 10.03 | 18 | 25
21 | P485 | [5 empty] | 25
22 | P500 | P500-5RM4MRM | For 96 cells, 80V, output cable length 1.2m (sold in box of 20, 840/pallet) | 18 | 10.03 | 18 | 25
23 | P505 | P505-4RM4MBM | For high current modules, up to 14A, 83V, output cable length 1.2m (sold in box of 10, 540/pallet) | 11 | 7.75 | 11 | 25
24 | P801(1.2 o/p) |  | For 72 cells, 2 in series (portrait), 125V, output 1.2m (sold in box of 10, 420/pallet) | 12 | 10.03 | 12 | 25
25 | P801(2.2 o/p) | P801-4RM4MRY | For 72 cells, 2 in series (landscape), 125V, output 2.2m (sold in box of 10, 420/pallet) | 12 | 10.03 | 12 | 25
26 | P801(0.9 i/p) | P801-4RMLMRY | For 72 cells, 2 in series, 125V, output 2.2m, input 0.9m (sold in box of 10, 420/pallet) |  |  |  | 25
27 | P850(1.2 o/p) |  | For high power/bi-facial, 2 in series, 120V, output cable length 1.2m (sold in box of 10, 540/pallet) | 11 | 7.75 | 11 | 25
28 | P850(2.2 o/p) | P850-4RM4MBY | For high power/bi-facial, 2 in series, 120V, output cable length 2.2m (sold in box of 10, 540/pallet) | 12 | 7.75 | 12 | 25
29 | P850(0.9 i/p) | P850-4RMLMBY | For high power/bi-facial, 2 in series, 120V, output 2.2m, input 0.9m (sold in box of 10, 540/pallet) | 13 | 7.75 | 13 | 25
30 | P950(2.2 o/p) | P950-4RM4MBY | For high power/bi-facial, 2 in series, 120V, output cable length 2.2m (sold in box of 10, 540/pallet) | 12 | 7.75 | 12 | 25
31 | P950(0.9 i/p) | [5 empty] | 25
32 | P950(1.3 i/p) | P950-4RMXMBY | For high power/bi-facial, 2 in series, 120V, output 2.2m, input 1.3m (sold in box of 10, 540/pallet) | 13 | 7.75 | 13 | 25
33 | P1100(2.4 m o/p) | P1100-4RM4MBT | For high power/bi-facial, 2 in series, 125V, output cable length 2.4m (sold in box of 10, 540/pallet) |  |  |  | 25
34 | P1100(1.3 m i/p) | P1100-4RMXMBT | For high power/bi-facial, 2 in series, 125V, output cable length 2.4m, input 1.3m (sold in box of 10, 480/pallet) |  |  |  | 25
35 | M1600 | [5 empty] | 25
36 | P605(1.4 m o/p) | P605-4RM4MBN | For 1 x high power/bi-facial, 65V, output cable length 1.4m (sold in box of 10, 420/pallet), commercial applications only |  |  |  | 25
37 | P605(0.9 m i/p) | P605-4RMLMBN | For 1 x high power/bi-facial, 65V, output cable length 1.4m, input 0.9m (sold in box of 10, 420/pallet), commercial applications only |  |  |  | 25
38 | P601
| Accessories | Part Number | Product Description | Act Wt (kg) | Vol wt(kg) | Cal wt(kg)
39 | Modbus Meter | SE-MTR-3Y-400V-A | 1PH/3PH 230/400V, Energy Meter with Modbus Connection, DIN-Rail |  |  |  | 5
40 | 1000 Amps CT | SE-CTS-2000-1000 | 1000A Split-Core Current Transformer |  |  |  | 5
41 | 250 Amps CT | SECT-SPL-250A-A | 250A Split-Core Current Transformer, for 50/60Hz |  |  |  | 5
42 | 50 Amps CT | SECT-SPL-50A-A | 100A Split-Core Current Transformer, for 50/60Hz |  |  |  | 5
43 | 100 Amps CT | SECT-SPL-100A-A | 50A Split-Core Current Transformer, for 50/60Hz |  |  |  | 5
44 | WiFi Antenna | SE-ANT-ZBWIFI-KIT | Antenna kit for WiFi for Smart Energy (5pcs) |  |  |  | 5
45 | CCG | SE1000-CCG-G-S1 | Commercial Gateway |  |  |  | 5
46 | Irr Sen | SE1000-SEN-IRR-S1 | Irradiance sensor 0-1.4V |  |  |  | 5
47 | Module Temp Sen | SE1000-SEN-TMOD-S2 | Module temperature sensor 4-20mA |  |  |  | 5
48 | Ambient Temp Sen | SE1000-SEN-TAMB-S2 | Ambient temperature sensor 0-10V |  |  |  | 5
47 | Site Power Controller | SE2000-PFSV-MSDC-4BPC | Site power controller: dynamic control of site power, active power & reactive power |  |  |  | 2
48 | DG Sync | SE2000-PFSV-MSDC-DG | Alternative power source hybrid solution: controller that integrates an alternative power source with a PV production system |  |  |  | 2
49 | Firefigher gateway
50 |  | FLD-DCD-Com-Hub
51 |  | FLD-3PH-PRT-03
52 |  | FLD-3PH-PRT-02
53 |  | SE-RS485-SPD2-B-K1
54 |  | SE-RS485-SPD2-K1
55 |  | SE-RS485-SPD2-K2
56 |  | SE1000-RS485-IF (Expansion)